## Slide 1: Analytical instrumentation Section-2, Ppt-22

## Slide 9
Type of Radiation | Frequency Range (Hz) | Wavelength Range | Type of Transition
gamma-rays | 1020-1024 | <1 pm | nuclear
X-rays | 1017-1020 | 1 nm-1 pm | inner electron
ultraviolet | 1015-1017 | 400 nm-1 nm | outer electron
visible | 4-7.5x1014 | 750 nm-400 nm | outer electron
near-infrared | 1x1014-4x1014 | 2.5 µm-750 nm | outer electron molecular vibrations
infrared | 1013-1014 | 25 µm-2.5 µm | molecular vibrations
microwaves | 3x1011-1013 | 1 mm-25 µm | molecular rotations, electron spin flips*
radio waves | <3x1011 | >1 mm | nuclear spin flips*

## Slide 15: transmittance T
The transmittance, T, of the solution is defined as the ratio of the transmitted intensity, I, over the incident intensity, I0:
T, the percentage of light that goes through the sample)

## Slide 16
Absorbance (Abs, representing the amount of light absorbed by the sample)

## Slide 17
In the example above, a single sheet of the colored material transmits 70% of the light:
I/Io= 0.70 ; T = 70% ; Abs = - log10(0.70)= 0.155
A second sheet transmits 70% of the light it receives, or 49% (0.70 x 70%) of the original light:
I/Io= 0.49 ; T = 49% ; Abs = - log10(0.49)= 0.310
The third sheet transmits 70% of the light it receives, or 34.3 % (0.70 x 49%) of the original light:
I/Io= 0.343 ; T = 34.3% ; Abs = - log10(0.343)= 0.465

## Slide 24
Thank you